{"text_format":"2","workbook":"xls","n_sheets":4,"sheets":["总表","Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"总表","index":0,"n_rows":6,"n_cols":12,"rows_kept":6,"cut":false,"hidden":false,"merged":[[0,0,0,12],[1,10,1,12]],"flags":["formulas_cached_only"]}
["2014年度新兴县国控企业污染物自动监控信息"]
["序号","企业名称","企业地址","监控点名称","监测日期","流量","流速","监测项目名称","折算浓度\n（日均值）","标准限值","最近一次有效性审核合格日期及合格情况"]
[1,"新兴县禧嘉丰环保有限公司","新兴县新城镇三挺村西面","总排放口","2014-10-13",null,null,"COD","27.09mg/L","≤40mg/L","2014-10-07","审核合格"]
[2,"新兴县禧嘉丰环保有限公司","新兴县新城镇三挺村西面","总排放口","2014-10-13",null,null,"氨氮","1.92mg/L","≤8mg/L","2014-10-07","审核合格"]
[3,"新兴县禧嘉丰环保有限公司","新兴县新城镇三挺村西面","总排放口","2014-10-13",null,null,"PH",6.32,"6~9"]
[4,"新兴县禧嘉丰环保有限公司","新兴县新城镇三挺村西面","总排放口","2014-10-13","277.5L/S",null,"出水流量"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet2","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}